### PHAGE FLOCULATION-SEAWATER

- Filter zooplankton using a 60 µm mesh sieve.

- Perform serial filtration through 5 µm → 1 µm → 0.2 µm filters.
Replace filters whenever the pump flow rate becomes very low.
Place the 5 µm, 1 µm, and 0.2 µm filters into large square Petri dishes (see below).

- For each liter of water filtered (<0.2 µm fraction):

  - Add 50 µL of ferric chloride (FeCl₃), shake for 1 minute

  - Add another 50 µL of ferric chloride, shake for 1 minute

  - Record the time on the bottle and incubate at room temperature (RT) for at least 1 hour

- After a minimum of 1 hour of flocculation:

  - Re-filter the FeCl₃-treated water on a 0.2 µm filter

  - Stack the filters and store them together in a Petri dish with « Tampon A La Con (TALC) »

  - Add 1 mL of TALC buffer per liter of water processed (1000X concentration)

- Store the Petri dish containing filters + TALC buffer overnight at 4°C

- The next day:

  - From the Petri dish, gently scrape the flocs off the filters using a Pasteur pipette or a cell scraper

  - Recover the TALC buffer (containing the flocs) into a glass bottle and store at 4°C

### TALC BUFFER (qui porte bien son nom)

- Tris base: 1.51 g

- H₂O: q.s. to 80 mL (pH ~10)

- Na₂-EDTA: 3.72 g (pH ~8)

- MgCl₂: 4.07 g (pH ~4.5)

- NaOH 5N: 3 mL (pH ~8.3)

- Oxalic acid: 2.52 g

- NaOH 5N: 1 mL

Adjust pH to 6–6.5 using NaOH 10N

Bring to 100 mL final volume with H₂O
Store at room temperature for up to one week

Note: On the day of use (KK recommendation but I don’t think this is , filter the buffer through 0.2 µm if precipitation has occurred.

### FeCl₃ SOLUTION

- FeCl₃·6H₂O (Sigma): 4.83 g in 100 mL distilled water (10 g/L)

- Store at 4°C, protected from light